Electronic Supplementary Material

for

How the morning-afternoon cloudiness asymmetry affects the energy-maximizing azimuth direction of fixed-tilt monofacial solar panels

Péter Takács, Judit Slíz-Balogh, Ákos Horváth, Dániel Horváth, Imre M. Jánosi, Gábor Horváth*

*: correspondig author: Environmental Optics Laboratory, Department of Biological Physics,

ELTE Eötvös Loránd University, H-1117 Budapest, Pázmány sétány 1, Hungary,

e-mail: gh@arago.elte.hu

Péter Takács, Judit Slíz-Balogh, Ákos Horváth, Dániel Horváth, Imre M. Jánosi, Gábor Horváth (2022) How the morning-afternoon cloudiness asymmetry affects the energy-maximizing azimuth direction of fixed-tilt monofacial solar panels. Royal Society Open Science 9 (4): 211948 (13 pages, doi: 10.1098/rsos.211948) + electronic supplement

(https://royalsocietypublishing.org/doi/10.1098/rsos.211948)

This file contains the following:

Supplementary Tables S1-S16

Supplementary Figures S1-S14

Supplementary Table S1. Daily hourly change of the mean ± standard deviation of the power flux WSun ± ΔWSun (W/m2) of direct sunlight from January to December averaged for the period 2009-2019 in Boone County (39.0° N, -84.75° E) between sunrise and sunset (UTC - 5 hour).

time		WSun		ΔWSun

(UTC - 5 h)	(W/m2)		(W/m2)

January

8:30		18.276		17.279

9:30		76.482		67.624

10:30		142.814	122.801

11:30		195.436	163.982

12:30		222.702	184.048

13:30		214.861	175.325

14:30		178.059	149.078

15:30		119.633	107.155

16:30		53.076		51.256

17:30		6.566		8.588

February

7:30		2.662		4.274

8:30		45.752		44.269

9:30		122.924	108.264

10:30		198.977	168.860

11:30		261.861	212.799

12:30		299.605	231.088

13:30		288.322	215.543

14:30		247.631	193.199

15:30		184.863	147.755

16:30		104.522	89.627

17:30		30.436		29.445

18:30		0.489		1.073

March

6:30		0.534		1.287

7:30		29.445		29.937

8:30		111.686	94.170

9:30		210.970	165.167

10:30		294.315	224.295

11:30		354.453	260.925

12:30		385.423	277.705

13:30		372.187	271.895

14:30		325.083	238.208

15:30		252.337	190.890

16:30		156.968	129.726

17:30		68.185		60.069

18:30		8.788		10.058

April

5:30		0.014		0.052

6:30		15.951		16.107

7:30		91.351		72.622

8:30		201.941	148.497

9:30		311.414	214.050

10:30		397.782	265.072

11:30		451.781	296.893

12:30		463.472	305.628

13:30		445.009	294.886

14:30		395.440	258.771

15:30		310.182	216.301

16:30		213.456	155.210

17:30		111.325	85.565

18:30		30.039		25.012

19:30		0.346		0.667

May

5:30		2.160		2.343

6:30		43.439		33.791

7:30		134.320	95.245

8:30		239.597	159.434

9:30		340.217	219.927

10:30		421.089	267.051

11:30		473.704	289.096

12:30		468.246	295.379

13:30		432.390	274.341

14:30		384.393	247.627

15:30		320.005	202.814

16:30		227.342	153.432

17:30		134.869	96.727

18:30		54.125		41.265

19:30		5.546		5.151

June

5:30		5.271		3.425

6:30		58.593		36.968

7:30		160.314	94.027

8:30		272.356	158.309

9:30		382.437	212.815

10:30		478.504	246.241

11:30		528.323	265.104

12:30		529.343	268.311

13:30		480.907	260.858

14:30		440.826	230.644

15:30		368.437	201.815

16:30		288.758	153.388

17:30		187.380	99.921

18:30		88.122		47.542

19:30		17.363		9.490

July

5:30		2.069		1.990

6:30		46.869		28.110

7:30		146.071	80.601

8:30		264.616	141.822

9:30		381.632	193.593

10:30		465.874	230.178

11:30		507.038	249.031

12:30		519.739	244.565

13:30		458.121	228.459

14:30		414.173	209.279

15:30		347.358	184.173

16:30		265.136	147.627

17:30		173.625	98.031

18:30		80.115		48.164

19:30		15.197		9.578

August

5:30		0.039		0.094

6:30		23.724		13.962

7:30		111.680	58.686

8:30		231.860	113.656

9:30		361.911	161.670

10:30		460.730	196.635

11:30		508.754	217.821

12:30		522.816	227.592

13:30		460.538	225.015

14:30		408.800	205.150

15:30		341.159	165.084

16:30		250.631	122.289

17:30		146.439	75.066

18:30		49.754		29.372

19:30		3.061		3.718

September

6:30		5.167		5.024

7:30		63.042		43.439

8:30		167.323	106.534

9:30		279.378	165.844

10:30		378.632	211.098

11:30		434.355	242.870

12:30		447.252	251.473

13:30		387.299	234.630

14:30		344.886	205.710

15:30		267.207	162.064

16:30		173.603	107.495

17:30		74.041		51.312

18:30		10.430		10.983

October

6:30		0.171		0.355

7:30		28.621		22.279

8:30		111.695	77.084

9:30		211.483	134.668

10:30		292.590	183.308

11:30		338.100	214.001

12:30		348.684	220.814

13:30		313.372	212.425

14:30		252.399	177.005

15:30		175.133	128.887

16:30		87.494		69.596

17:30		18.224		17.902

18:30		0.044		0.140

November

7:30		5.312		5.928

8:30		58.972		45.746

9:30		143.503	102.285

10:30		217.209	149.965

11:30		267.111	178.621

12:30		281.428	187.885

13:30		247.802	172.671

14:30		194.108	136.636

15:30		118.348	87.049

16:30		41.161		32.734

17:30		1.4180		1.837

December

7:30		0.047		0.137

8:30		17.463		18.420

9:30		64.733		67.563

10:30		115.361	117.643

11:30		154.791	152.806

12:30		172.168	164.741

13:30		159.941	148.931

14:30		124.190	118.810

15:30		73.528		74.426

16:30		22.910		24.095

17:30		0.277		0.454

Supplementary Table S2. Daily hourly change of the mean ± standard deviation of the power flux WSun ± ΔWSun (W/m2) of direct sunlight from January to December averaged for the period 2009-2019 in Tennessee (35.5° N, -88.25° E) between sunrise and sunset (UTC - 5 hour). Although this site of Tennessee state is in the time zone UTC - 6 h, but here the data are given in UTC - 5 h.

time		WSun		ΔWSun

(UTC - 5 h)	(W/m2)		(W/m2)

January

8:30		18.457		16.311

9:30		87.972		75.194

10:30		170.475	137.012

11:30		238.437	185.669

12:30		277.278	214.023

13:30		288.219	208.548

14:30		258.081	187.134

15:30		191.534	141.584

16:30		104.680	80.013

17:30		25.294		21.755

18:30		0.079		0.202

February

7:30		1.057		1.875

8:30		41.082		37.404

9:30		126.912	104.917

10:30		218.909	169.201

11:30		288.056	221.093

12:30		331.467	248.217

13:30		321.346	256.032

14:30		294.438	232.225

15:30		232.179	188.426

16:30		147.872	121.052

17:30		57.349		51.329

18:30		4.117		5.125

March

6:30		0.025		0.096

7:30		17.135		19.227

8:30		88.876		79.586

9:30		184.641	151.856

10:30		277.303	220.775

11:30		347.083	267.530

12:30		382.886	293.515

13:30		372.186	283.452

14:30		345.637	257.744

15:30		280.144	216.157

16:30		194.862	155.739

17:30		100.556	81.150

18:30		21.246		17.964

April

6:30		6.228		7.433

7:30		70.628		52.626

8:30		188.221	123.285

9:30		308.376	192.011

10:30		419.764	246.163

11:30		483.731	283.100

12:30		504.501	303.401

13:30		481.355	300.844

14:30		433.525	277.724

15:30		353.251	233.543

16:30		253.105	172.261

17:30		145.530	99.101

18:30		47.190		33.329

19:30		1.516		1.820

May

5:30		0.054		0.103

6:30		24.145		18.240

7:30		107.028	75.339

8:30		223.054	144.253

9:30		338.062	211.530

10:30		439.752	261.239

11:30		500.000	288.555

12:30		521.754	292.609

13:30		484.273	277.182

14:30		432.906	249.653

15:30		379.319	212.655

16:30		281.055	165.671

17:30		173.382	107.521

18:30		73.240		47.496

19:30		9.872		7.106

June

5:30		0.326		0.231

6:30		35.689		19.299

7:30		134.831	68.243

8:30		261.729	126.138

9:30		392.645	179.104

10:30		500.657	218.546

11:30		560.298	235.857

12:30		590.641	243.665

13:30		528.989	247.613

14:30		494.428	214.451

15:30		436.202	179.247

16:30		336.079	141.093

17:30		215.077	99.682

18:30		103.050	51.181

19:30		23.011		11.826

July

5:30		0.033		0.064

6:30		24.852		14.201

7:30		114.871	58.492

8:30		241.840	114.845

9:30		367.148	166.559

10:30		468.052	207.922

11:30		526.580	233.584

12:30		557.786	242.471

13:30		493.908	225.011

14:30		453.020	208.629

15:30		405.580	176.793

16:30		315.928	140.255

17:30		204.995	96.138

18:30		100.122	47.987

19:30		22.264		10.958

August

6:30		9.403		6.666

7:30		81.998		42.849

8:30		204.470	98.459

9:30		331.216	153.933

10:30		439.657	198.044

11:30		509.297	216.800

12:30		534.697	216.031

13:30		461.167	221.615

14:30		425.837	202.495

15:30		364.845	172.815

16:30		273.086	131.908

17:30		167.462	81.998

18:30		63.251		36.114

19:30		6.099		5.842

September

6:30		1.301		1.503

7:30		51.072		31.035

8:30		165.742	90.809

9:30		296.709	151.850

10:30		407.589	198.852

11:30		464.744	232.606

12:30		482.485	243.991

13:30		428.301	233.141

14:30		374.433	214.248

15:30		299.239	174.208

16:30		203.047	119.370

17:30		100.488	62.371

18:30		20.557		16.629

19:30		0.042		0.113

October

7:30		22.206		16.422

8:30		112.467	71.127

9:30		228.607	134.393

10:30		330.085	185.461

11:30		393.302	217.332

12:30		420.392	230.079

13:30		387.664	227.229

14:30		329.646	198.114

15:30		245.700	151.583

16:30		139.405	90.725

17:30		41.596		31.351

18:30		0.985		1.765

November

7:30		3.051		3.738

8:30		53.459		41.854

9:30		143.786	104.243

10:30		230.455	159.606

11:30		292.695	196.280

12:30		321.827	211.170

13:30		308.539	201.838

14:30		252.486	171.451

15:30		170.767	119.166

16:30		77.991		55.690

17:30		9.821		8.244

December

7:30		0.016		0.054

8:30		18.947		17.951

9:30		80.214		72.276

10:30		146.742	128.822

11:30		198.139	169.065

12:30		225.767	189.067

13:30		221.261	182.815

14:30		185.896	154.888

15:30		124.099	108.112

16:30		54.141		49.674

17:30		5.820		5.769

Supplementary Table S3. Daily hourly change of the mean ± standard deviation of the power flux WSun ± ΔWSun (W/m2) of direct sunlight from January to December averaged for the period 2009-2019 in Georgia (31.25° N, -83.25° E) between sunrise and sunset (UTC - 5 hour).

time		WSun		ΔWSun

(UTC - 5 h)	(W/m2)		(W/m2)

January

7:30		2.408		2.092

8:30		56.980		43.202

9:30		155.974	112.078

10:30		255.416	167.520

11:30		329.103	203.476

12:30		362.064	217.227

13:30		350.008	208.460

14:30		292.476	178.628

15:30		203.032	130.815

16:30		101.988	67.513

17:30		18.677		14.879

February

7:30		10.629		9.828

8:30		84.306		64.789

9:30		192.020	137.573

10:30		298.135	198.197

11:30		377.243	241.163

12:30		413.425	257.513

13:30		394.217	246.063

14:30		335.915	218.337

15:30		245.532	171.324

16:30		141.790	102.966

17:30		44.954		33.651

18:30		0.798		1.136

March

6:30		1.136		2.012

7:30		48.330		35.782

8:30		163.839	104.541

9:30		291.788	176.799

10:30		406.813	228.848

11:30		488.687	258.543

12:30		510.322	274.354

13:30		476.159	270.405

14:30		405.324	247.166

15:30		313.053	195.901

16:30		196.265	128.842

17:30		80.666		54.672

18:30		7.898		6.426

April

6:30		19.699		15.026

7:30		116.093	70.985

8:30		257.498	140.400

9:30		400.008	204.762

10:30		514.091	249.374

11:30		573.386	279.202

12:30		587.468	286.688

13:30		527.892	286.426

14:30		457.836	265.625

15:30		356.518	216.886

16:30		242.359	150.028

17:30		121.899	73.911

18:30		24.729		15.433

May

5:30		0.664		0.708

6:30		45.228		24.866

7:30		162.194	82.139

8:30		303.579	145.494

9:30		444.568	199.203

10:30		547.004	240.225

11:30		588.591	268.257

12:30		607.050	265.891

13:30		529.813	256.854

14:30		459.270	234.918

15:30		367.521	193.269

16:30		258.638	140.932

17:30		135.390	80.546

18:30		38.772		23.716

19:30		0.621		0.746

June

5:30		1.497		0.887

6:30		49.016		24.467

7:30		160.011	74.506

8:30		284.793	131.134

9:30		412.379	180.867

10:30		510.161	209.100

11:30		571.875	220.641

12:30		568.775	232.653

13:30		490.224	215.208

14:30		415.238	200.676

15:30		338.857	172.583

16:30		238.417	131.806

17:30		132.649	76.837

18:30		45.556		28.042

19:30		2.761		2.004

July

5:30		0.337		0.401

6:30		36.154		18.386

7:30		135.409	63.859

8:30		259.733	116.367

9:30		387.823	160.644

10:30		487.221	191.830

11:30		545.768	208.546

12:30		565.882	212.050

13:30		513.446	208.634

14:30		443.891	192.989

15:30		346.293	165.335

16:30		240.119	120.601

17:30		130.251	71.922

18:30		43.300		27.558

19:30		2.672		2.022

August

6:30		18.008		10.840

7:30		98.591		56.220

8:30		214.595	112.625

9:30		343.810	166.727

10:30		450.179	198.874

11:30		509.259	214.741

12:30		527.429	207.161

13:30		469.070	199.326

14:30		402.245	186.337

15:30		312.349	152.380

16:30		201.899	110.568

17:30		99.629		61.838

18:30		25.728		17.277

19:30		0.225		0.397

September

6:30		7.557		5.138

7:30		80.460		46.079

8:30		204.005	107.787

9:30		331.104	165.519

10:30		433.947	204.954

11:30		490.527	222.723

12:30		486.904	228.307

13:30		437.835	208.377

14:30		361.666	184.384

15:30		266.209	144.332

16:30		159.102	96.823

17:30		62.311		41.526

18:30		5.668		6.095

October

6:30		1.405		1.585

7:30		58.472		33.295

8:30		184.801	93.801

9:30		321.223	149.943

10:30		426.963	196.093

11:30		487.508	219.203

12:30		490.999	220.991

13:30		425.322	219.391

14:30		346.521	183.058

15:30		244.223	131.477

16:30		121.562	70.201

17:30		25.913		18.029

18:30		0.034		0.106

November

7:30		22.991		17.181

8:30		114.118	71.553

9:30		228.774	128.814

10:30		330.269	173.511

11:30		391.309	198.252

12:30		397.518	205.800

13:30		353.440	196.218

14:30		275.928	160.645

15:30		174.606	108.376

16:30		68.375		45.076

17:30		4.765		3.937

December

7:30		3.814		4.144

8:30		51.366		46.533

9:30		131.378	110.775

10:30		207.996	162.961

11:30		261.673	195.647

12:30		287.345	205.133

13:30		265.990	192.913

14:30		215.579	156.417

15:30		137.119	102.841

16:30		53.696		41.275

17:30		3.179		2.947

Supplementary Table S4. Daily hourly change of the mean ± standard deviation of the power flux WSun ± ΔWSun (W/m2) of direct sunlight from January to December averaged for the period 2009-2019 in Central Italy (41.0° N, 15.0° E) between sunrise and sunset (UTC + 1 hour). Although Italy is in the time zone UTC + 1 h, but here the data are given in UTC.

time		WSun		ΔWSun

(UTC + 1 h)	(W/m2)		(W/m2)

January

6:30		2.318		2.535

7:30		29.110		27.542

8:30		79.000		64.236

9:30		132.714	96.553

10:30		167.624	117.542

11:30		169.153	122.281

12:30		146.274	109.041

13:30		104.147	79.815

14:30		52.541		41.984

15:30		10.879		10.405

February

5:30		0.043		0.135

6:30		12.299		13.269

7:30		56.496		51.272

8:30		123.115	97.831

9:30		187.823	136.947

10:30		225.668	157.890

11:30		222.633	160.051

12:30		201.934	145.694

13:30		156.886	116.128

14:30		95.761		73.849

15:30		37.161		29.848

16:30		2.633		3.434

March

5:30		8.520		11.600

6:30		56.268		54.475

7:30		146.502	108.395

8:30		241.865	158.589

9:30		321.261	198.121

10:30		353.694	218.711

11:30		344.512	222.581

12:30		307.418	208.740

13:30		246.277	171.922

14:30		170.739	120.527

15:30		91.039		66.089

16:30		22.253		18.069

17:30		0.094		0.222

April

4:30		3.639		4.860

5:30		45.190		37.683

6:30		134.489	89.172

7:30		261.537	136.044

8:30		381.968	177.505

9:30		456.737	209.033

10:30		481.879	231.571

11:30		466.248	231.627

12:30		414.700	215.584

13:30		337.664	182.871

14:30		248.213	141.997

15:30		150.650	87.202

16:30		55.429		34.422

17:30		4.302		3.889

May

3:30		0.113		0.194

4:30		18.931		13.965

5:30		88.663		54.882

6:30		197.791	98.655

7:30		332.520	133.473

8:30		442.945	171.091

9:30		500.511	204.544

10:30		518.195	213.213

11:30		493.944	207.628

12:30		450.578	189.096

13:30		368.415	164.172

14:30		274.173	128.947

15:30		177.646	89.315

16:30		85.069		43.418

17:30		17.576		10.075

18:30		0.038		0.076

June

3:30		0.758		0.491

4:30		32.041		18.011

5:30		119.754	56.369

6:30		254.432	87.344

7:30		400.354	114.040

8:30		520.815	137.020

9:30		581.142	170.982

10:30		604.789	186.895

11:30		579.018	193.880

12:30		514.035	184.392

13:30		435.945	162.074

14:30		328.689	139.057

15:30		224.877	98.388

16:30		122.509	53.888

17:30		37.454		16.525

18:30		1.099		0.686

July

3:30		0.168		0.231

4:30		27.474		12.521

5:30		120.234	45.715

6:30		260.643	71.644

7:30		415.908	91.325

8:30		541.308	114.239

9:30		623.601	137.012

10:30		653.544	154.911

11:30		635.448	160.007

12:30		578.341	158.133

13:30		480.548	146.005

14:30		369.085	121.991

15:30		252.929	86.800

16:30		137.617	47.377

17:30		41.373		13.903

18:30		0.950		0.690

August

4:30		9.305		6.225

5:30		81.549		33.771

6:30		212.529	65.802

7:30		368.378	85.745

8:30		507.058	103.926

9:30		594.774	126.421

10:30		627.618	141.303

11:30		613.745	144.516

12:30		552.370	140.447

13:30		446.808	128.327

14:30		328.611	105.481

15:30		203.263	73.163

16:30		90.595		35.910

17:30		14.749		9.909

September

4:30		0.357		0.631

5:30		27.376		19.515

6:30		102.311	64.616

7:30		215.706	110.317

8:30		332.751	148.624

9:30		413.064	174.806

10:30		443.278	182.146

11:30		420.543	177.388

12:30		371.822	160.203

13:30		279.833	133.338

14:30		185.688	96.610

15:30		92.170		53.989

16:30		22.121		17.108

17:30		0.242		0.554

October

5:30		5.907		6.384

6:30		46.715		38.394

7:30		124.328	85.779

8:30		215.570	131.069

9:30		281.901	163.796

10:30		309.741	176.518

11:30		298.114	174.402

12:30		250.890	149.191

13:30		180.416	112.849

14:30		103.748	66.151

15:30		30.901		23.064

16:30		0.879		1.568

November

5:30		0.156		0.403

6:30		14.913		15.601

7:30		60.328		51.167

8:30		127.648	89.600

9:30		190.625	119.944

10:30		218.607	133.649

11:30		210.086	132.697

12:30		171.697	110.109

13:30		111.215	75.704

14:30		47.029		33.344

15:30		4.707		4.608

December

6:30		3.281		3.099

7:30		36.502		28.322

8:30		92.018		63.498

9:30		147.823	90.462

10:30		184.002	104.471

11:30		180.854	106.371

12:30		147.870	91.193

13:30		96.001		59.683

14:30		37.704		23.656

15:30		2.085		1.637

Supplementary Table S5. Daily hourly change of the mean ± standard deviation of the power flux WSun ± ΔWSun (W/m2) of direct sunlight from January to December averaged for the period 2009-2019 in Central Hungary (47.0° N, 19.0° E) between sunrise and sunset (UTC + 1 hour). Although Hungary is in the time zone UTC + 1 h, but here the data are given in UTC.

time		WSun		ΔWSun

(UTC + 1 h)	(W/m2)		(W/m2)

January

6:30		1.460		2.023

7:30		21.709		22.784

8:30		58.787		56.276

9:30		95.927		84.445

10:30		117.252	99.857

11:30		113.242	97.555

12:30		89.656		78.838

13:30		53.349		49.070

14:30		17.272		18.281

15:30		0.678		1.439

February

5:30		0.158		0.467

6:30		12.614		14.842

7:30		51.471		51.024

8:30		101.769	92.797

9:30		143.181	126.134

10:30		163.850	143.039

11:30		156.297	138.260

12:30		126.756	118.235

13:30		88.318		85.539

14:30		45.160		46.744

15:30		11.106		12.992

16:30		0.078		0.235

March

4:30		0.238		0.624

5:30		18.049		19.346

6:30		79.104		61.547

7:30		166.108	112.887

8:30		248.359	157.585

9:30		304.449	188.368

10:30		320.315	200.195

11:30		298.299	197.631

12:30		252.595	178.621

13:30		185.439	139.882

14:30		115.223	91.612

15:30		50.069		42.528

16:30		7.958		8.589

April

3:30		0.104		0.245

4:30		17.351		14.817

5:30		88.904		52.933

6:30		189.234	102.130

7:30		297.699	148.924

8:30		388.791	185.739

9:30		447.589	205.872

10:30		451.614	211.986

11:30		422.649	212.733

12:30		359.746	195.214

13:30		283.963	161.191

14:30		196.136	116.581

15:30		109.727	66.677

16:30		36.151		24.011

17:30		2.007		2.517

May

3:30		5.206		4.517

4:30		49.261		29.448

5:30		136.901	74.199

6:30		226.140	126.472

7:30		322.926	172.193

8:30		394.227	210.172

9:30		429.411	230.281

10:30		436.378	232.490

11:30		418.943	224.062

12:30		374.277	200.226

13:30		314.350	161.935

14:30		231.716	123.665

15:30		145.440	80.341

16:30		65.024		38.993

17:30		13.801		9.228

18:30		0.065		0.127

June

3:30		11.792		6.047

4:30		66.070		33.634

5:30		157.308	75.684

6:30		250.034	125.778

7:30		336.548	169.435

8:30		408.841	204.477

9:30		451.473	219.430

10:30		459.141	216.882

11:30		443.056	211.418

12:30		391.750	200.352

13:30		333.451	172.177

14:30		255.749	135.244

15:30		169.952	93.747

16:30		89.388		49.832

17:30		27.673		15.832

18:30		1.281		0.947

July

3:30		6.900		4.659

4:30		56.661		27.389

5:30		150.155	67.602

6:30		249.653	111.999

7:30		354.481	150.669

8:30		439.566	177.134

9:30		495.719	195.148

10:30		506.398	197.630

11:30		481.646	195.473

12:30		436.567	181.294

13:30		374.757	156.059

14:30		287.655	121.820

15:30		192.309	80.741

16:30		99.710		43.402

17:30		29.260		14.259

18:30		1.050		0.926

August

3:30		0.351		0.555

4:30		26.306		13.481

5:30		109.440	44.344

6:30		213.758	89.840

7:30		327.388	127.370

8:30		425.364	157.043

9:30		484.587	180.971

10:30		502.191	182.185

11:30		477.278	182.792

12:30		430.828	167.342

13:30		349.349	138.921

14:30		252.854	107.429

15:30		153.657	69.368

16:30		62.042		31.267

17:30		8.678		7.622

September

4:30		3.186		3.850

5:30		43.983		29.670

6:30		121.579	74.037

7:30		212.691	120.105

8:30		291.429	160.179

9:30		346.271	183.485

10:30		360.176	191.234

11:30		337.389	179.034

12:30		283.338	160.296

13:30		213.447	127.344

14:30		135.795	86.667

15:30		59.714		42.268

16:30		10.297		11.149

17:30		0.025		0.083

October

5:30		10.525		11.066

6:30		56.052		46.230

7:30		122.356	92.529

8:30		185.905	133.069

9:30		226.643	158.321

10:30		240.498	166.135

11:30		224.313	157.497

12:30		179.087	129.864

13:30		116.879	90.795

14:30		53.770		47.529

15:30		10.149		12.213

16:30		0.032		0.106

November

5:30		0.253		0.532

6:30		14.246		14.913

7:30		52.610		47.909

8:30		98.967		81.084

9:30		135.379	104.417

10:30		147.970	110.835

11:30		137.523	105.025

12:30		99.777		82.313

13:30		53.804		47.555

14:30		13.879		13.500

15:30		0.090		0.232

December

6:30		1.481		1.994

7:30		21.903		21.163

8:30		56.055		51.789

9:30		86.777		74.440

10:30		98.819		83.717

11:30		90.317		78.044

12:30		66.243		57.310

13:30		33.334		29.668

14:30		5.977		5.569

Supplementary Table S6. Daily hourly change of the mean ± standard deviation of the power flux WSun ± ΔWSun (W/m2) of direct sunlight from January to December averaged for the period 2009-2019 in South Sweden (58.0° N, 13.0° E) between sunrise and sunset (UTC + 1 hour). Although Sweden is in the time zone UTC + 1 h, but here the data are given in UTC.

time		WSun		ΔWSun

(UTC + 1 h)	(W/m2)		(W/m2)

January

7:30		0.202		0.656

8:30		5.675		8.573

9:30		17.252		22.048

10:30		28.503		33.742

11:30		31.469		36.913

12:30		26.344		32.638

13:30		14.329		18.801

14:30		3.257		5.685

15:30		0.025		0.093

February

6:30		0.721		1.923

7:30		11.286		17.294

8:30		35.160		43.518

9:30		61.492		69.171

10:30		80.800		87.237

11:30		89.680		93.151

12:30		81.795		85.705

13:30		60.179		66.295

14:30		32.609		38.239

15:30		8.712		13.186

16:30		0.197		0.559

March

5:30		4.504		8.065

6:30		28.110		32.904

7:30		73.259		71.935

8:30		126.362	111.061

9:30		173.037	143.441

10:30		204.460	156.970

11:30		208.011	157.559

12:30		186.630	144.740

13:30		153.651	122.028

14:30		100.735	86.067

15:30		52.695		48.616

16:30		15.168		17.239

17:30		0.529		1.248

April

3:30		0.233		0.586

4:30		11.618		14.026

5:30		52.526		46.793

6:30		114.220	88.358

7:30		180.357	130.239

8:30		244.010	167.617

9:30		293.904	189.634

10:30		314.093	203.496

11:30		316.307	207.454

12:30		292.819	191.274

13:30		257.681	165.144

14:30		203.985	130.590

15:30		139.059	92.104

16:30		72.389		51.720

17:30		21.343		18.818

18:30		0.994		1.830

May

2:30		0.247		0.477

3:30		11.267		10.926

4:30		50.716		38.564

5:30		115.47		77.293

6:30		178.825	120.591

7:30		252.841	160.469

8:30		314.747	195.125

9:30		354.247	221.764

10:30		358.077	230.338

11:30		349.681	226.249

12:30		322.026	212.846

13:30		275.967	186.070

14:30		231.066	153.304

15:30		178.238	114.326

16:30		121.082	77.168

17:30		62.912		40.596

18:30		17.338		13.797

19:30		0.806		1.302

June

2:30		1.976		1.470

3:30		22.806		16.336

4:30		71.159		47.701

5:30		138.608	87.792

6:30		189.255	127.434

7:30		253.003	162.703

8:30		312.209	195.464

9:30		348.474	212.369

10:30		367.053	224.700

11:30		355.157	224.186

12:30		333.559	213.335

13:30		294.511	188.594

14:30		257.071	162.983

15:30		206.136	129.964

16:30		146.351	93.544

17:30		86.282		55.438

18:30		35.238		23.453

19:30		6.018		4.186

July

2:30		0.484		0.776

3:30		13.837		11.572

4:30		52.852		38.402

5:30		114.938	75.423

6:30		165.030	111.296

7:30		229.760	149.250

8:30		283.016	187.396

9:30		320.970	209.585

10:30		339.173	220.082

11:30		336.434	221.454

12:30		316.485	205.965

13:30		280.627	189.690

14:30		236.598	155.803

15:30		188.777	122.589

16:30		133.962	86.026

17:30		76.062		49.594

18:30		28.542		20.086

19:30		3.673		3.504

August

3:30		0.982		1.866

4:30		16.254		16.730

5:30		56.038		47.631

6:30		101.086	81.367

7:30		158.790	117.403

8:30		212.714	147.255

9:30		243.170	169.264

10:30		257.100	176.601

11:30		257.842	181.077

12:30		242.241	169.855

13:30		218.147	153.882

14:30		174.054	127.765

15:30		125.610	93.605

16:30		78.092		59.987

17:30		31.014		27.415

18:30		5.099		6.764

19:30		0.016		0.055

September

4:30		0.739		1.602

5:30		15.493		17.615

6:30		43.472		44.989

7:30		93.298		80.362

8:30		138.402	112.104

9:30		178.314	141.505

10:30		196.740	148.263

11:30		193.376	142.585

12:30		172.002	131.354

13:30		138.327	107.426

14:30		98.539		78.831

15:30		55.664		47.621

16:30		19.430		20.558

17:30		1.993		3.952

October

5:30		0.521		1.229

6:30		10.042		14.536

7:30		35.264		41.777

8:30		65.552		68.858

9:30		94.205		93.380

10:30		110.457	106.702

11:30		110.889	106.765

12:30		94.756		91.429

13:30		68.060		68.763

14:30		35.283		40.908

15:30		9.522		13.882

16:30		0.269		0.789

November

6:30		0.051		0.192

7:30		3.502		6.346

8:30		13.487		20.409

9:30		25.340		34.809

10:30		33.243		42.454

11:30		32.318		42.762

12:30		26.275		34.408

13:30		12.847		17.769

14:30		2.417		4.501

December

7:30		0.045		0.164

8:30		3.998		5.423

9:30		13.340		16.969

10:30		21.324		25.964

11:30		21.738		25.861

12:30		14.422		18.048

13:30		4.756		6.055

14:30		0.053		0.101

Supplementary Table S7. Daily hourly change of the mean ± standard deviation of the power flux Wdiff ± ΔWdiff (W/m2) of diffuse skylight from January to December averaged for the period 2009-2019 in Boone County (39.0° N, -84.75° E) between sunrise and sunset (UTC - 5 hour).

time		Wdiff		ΔWdiff

(UTC - 5 h)	(W/m2)		(W/m2)

January

7:30		0.086		0.179

8:30		23.527		9.373

9:30		69.486		25.639

10:30		104.477	40.361

11:30		127.934	53.041

12:30		138.510	60.350

13:30		138.112	59.621

14:30		121.175	50.619

15:30		91.314		36.579

16:30		52.657		21.055

17:30		9.716		6.102

February

7:30		5.154		4.219

8:30		46.545		17.836

9:30		94.242		34.197

10:30		132.101	52.834

11:30		156.692	64.798

12:30		168.938	71.582

13:30		175.324	73.916

14:30		158.212	65.043

15:30		128.285	50.744

16:30		86.490		32.730

17:30		35.468		14.861

18:30		1.592		1.744

March

6:30		1.524		2.225

7:30		31.615		16.040

8:30		80.044		30.368

9:30		119.966	48.255

10:30		154.828	66.784

11:30		181.638	82.365

12:30		192.858	87.410

13:30		188.873	83.537

14:30		175.324	75.074

15:30		147.864	60.235

16:30		111.705	43.055

17:30		63.771		23.743

18:30		13.536		6.978

April

5:30		0.169		0.369

6:30		20.165		10.803

7:30		66.632		21.646

8:30		106.687	37.437

9:30		142.026	55.767

10:30		175.214	73.862

11:30		198.115	88.529

12:30		214.099	93.365

13:30		210.845	93.921

14:30		198.153	83.857

15:30		167.349	63.950

16:30		131.667	46.159

17:30		88.596		29.686

18:30		36.150		13.206

19:30		1.629		1.653

May

5:30		5.907		3.433

6:30		45.936		14.880

7:30		89.527		27.366

8:30		129.657	43.751

9:30		165.750	59.887

10:30		193.334	74.924

11:30		210.663	82.224

12:30		223.728	86.725

13:30		226.585	82.642

14:30		207.137	75.203

15:30		181.720	61.511

16:30		146.095	46.809

17:30		102.508	30.113

18:30		56.390		16.303

19:30		11.192		5.091

June

5:30		10.808		2.744

6:30		54.216		13.047

7:30		95.270		25.738

8:30		130.312	42.729

9:30		159.551	59.727

10:30		182.430	69.183

11:30		201.109	80.893

12:30		214.840	84.199

13:30		224.270	81.482

14:30		210.016	73.394

15:30		184.117	58.868

16:30		148.795	43.903

17:30		109.755	27.101

18:30		69.051		13.715

19:30		22.826		4.968

20:30		0.036		0.044

July

5:30		5:300		2.672

6:30		44.535		10.884

7:30		84.904		20.897

8:30		119.118	35.579

9:30		149.160	52.211

10:30		173.584	62.185

11:30		197.586	70.844

12:30		209.391	74.107

13:30		226.845	78.652

14:30		210.468	69.903

15:30		184.899	60.466

16:30		150.825	46.733

17:30		109.775	29.841

18:30		66.663		14.962

19:30		20.309		5.613

20:30		0.013		0.027

August

5:30		0.366		0.558

6:30		26.073		7.934

7:30		73.976		16.136

8:30		113.482	32.341

9:30		141.592	46.187

10:30		165.761	59.625

11:30		187.825	69.414

12:30		199.601	74.449

13:30		205.503	70.645

14:30		193.988	65.252

15:30		168.290	53.229

16:30		132.928	39.935

17:30		93.084		22.048

18:30		48.038		13.207

19:30		6.166		4.431

September

6:30		8.677		4.546

7:30		52.335		16.320

8:30		92.910		28.611

9:30		124.695	43.808

10:30		148.610	57.317

11:30		161.776	65.673

12:30		170.627	67.936

13:30		176.653	65.404

14:30		157.653	56.205

15:30		131.491	43.635

16:30		98.005		27.596

17:30		57.112		16.223

18:30		12.882		7.823

October

6:30		0.810		1.075

7:30		29.297		11.868

8:30		74.077		23.168

9:30		106.908	37.220

10:30		133.762	51.512

11:30		149.343	61.629

12:30		156.299	65.790

13:30		148.692	58.482

14:30		132.920	50.688

15:30		103.892	36.327

16:30		66.120		22.028

17:30		20.826		10.664

18:30		0.294		0.593

November

7:30		7.907		5.136

8:30		47.262		16.912

9:30		81.090		27.770

10:30		106.216	40.894

11:30		120.150	49.435

12:30		123.685	53.160

13:30		121.383	51.341

14:30		105.762	41.741

15:30		77.847		28.978

16:30		39.551		14.761

17:30		3.418		2.471

December

7:30		0.346		0.532

8:30		23.702		10.410

9:30		64.097		25.225

10:30		96.029		38.521

11:30		114.992	49.890

12:30		124.620	53.120

13:30		122.617	51.425

14:30		102.885	42.462

15:30		72.635		28.608

16:30		32.324		12.250

17:30		1.380		0.870

Supplementary Table S8. Daily hourly change of the mean ± standard deviation of the power flux Wdiff ± ΔWdiff (W/m2) of diffuse skylight from January to December averaged for the period 2009-2019 in Tennessee (35.5° N, -88.25° E) between sunrise and sunset (UTC - 5 hour). Although this site of Tennessee state is in the time zone UTC - 6 h, but here the data are given in UTC - 5 h.

time		Wdiff		ΔWdiff

(UTC - 5 h)	(W/m2)		(W/m2)

January

8:30		18.422		7.277

9:30		60.541		22.682

10:30		92.120		36.942

11:30		114.756	48.326

12:30		125.634	56.064

13:30		125.849	57.469

14:30		113.163	50.912

15:30		94.595		40.320

16:30		65.595		25.602

17:30		24.159		11.611

18:30		0.342		0.596

February

7:30		2.523		2.529

8:30		38.565		15.444

9:30		83.828		33.242

10:30		118.852	49.417

11:30		145.869	63.700

12:30		160.867	74.132

13:30		160.695	75.326

14:30		147.575	69.339

15:30		123.599	54.841

16:30		91.398		34.231

17:30		50.317		18.492

18:30		7.077		4.364

March

6:30		0.225		0.505

7:30		20.940		12.112

8:30		69.946		26.168

9:30		114.562	42.769

10:30		148.792	58.974

11:30		174.694	72.238

12:30		192.079	86.695

13:30		203.231	88.597

14:30		187.111	79.249

15:30		158.001	64.278

16:30		117.274	44.805

17:30		72.840		24.305

18:30		23.316		10.155

19:30		0.117		0.235

April

6:30		10.249		6.530

7:30		56.890		18.183

8:30		100.234	32.702

9:30		139.464	52.157

10:30		169.668	69.766

11:30		196.533	86.035

12:30		213.046	95.348

13:30		213.572	96.618

14:30		196.662	83.721

15:30		171.308	67.619

16:30		134.623	47.181

17:30		94.138		27.792

18:30		45.897		13.268

19:30		4.288		2.673

May

5:30		0.672		0.708

6:30		29.650		10.648

7:30		77.108		23.659

8:30		117.678	37.325

9:30		152.659	56.402

10:30		180.383	71.195

11:30		203.744	82.850

12:30		218.333	84.942

13:30		228.143	88.810

14:30		219.620	79.344

15:30		187.395	66.888

16:30		152.282	48.701

17:30		110.078	29.457

18:30		64.196		15.834

19:30		15.755		5.533

June

5:30		2.184		0.636

6:30		38.423		8.378

7:30		83.279		20.370

8:30		118.463	34.987

9:30		148.882	48.402

10:30		171.313	61.167

11:30		190.869	71.164

12:30		201.780	76.750

13:30		215.230	78.173

14:30		200.554	66.823

15:30		180.334	61.584

16:30		151.984	45.430

17:30		115.336	29.274

18:30		74.984		14.180

19:30		27.853		5.228

20:30		0.225		0.177

July

5:30		0.442		0.509

6:30		27.931		7.567

7:30		74.724		16.506

8:30		111.015	30.606

9:30		141.389	46.421

10:30		166.826	58.081

11:30		187.695	68.320

12:30		201.507	72.472

13:30		223.137	75.555

14:30		211.324	70.912

15:30		185.758	58.912

16:30		152.462	44.355

17:30		115.008	27.187

18:30		72.940		14.749

19:30		25.354		5.622

20:30		0.148		0.163

August

6:30		13.040		4.394

7:30		61.235		12.621

8:30		101.878	24.607

9:30		134.730	40.520

10:30		162.006	56.183

11:30		184.321	66.770

12:30		197.903	70.790

13:30		219.809	74.599

14:30		202.561	64.671

15:30		172.367	52.852

16:30		139.040	38.883

17:30		100.094	23.214

18:30		55.971		13.903

19:30		10.047		5.456

September

6:30		3.322		2.221

7:30		42.030		11.957

8:30		84.030		22.912

9:30		116.005	36.601

10:30		137.840	48.310

11:30		157.063	58.133

12:30		169.128	61.059

13:30		184.637	69.009

14:30		169.841	60.320

15:30		141.969	47.934

16:30		109.098	31.294

17:30		68.685		18.678

18:30		21.754		10.635

19:30		0.292		0.574

October

6:30		0.064		0.143

7:30		21.303		7.939

8:30		66.450		18.892

9:30		99.054		32.886

10:30		122.986	45.924

11:30		140.703	55.703

12:30		145.298	55.614

13:30		146.242	58.043

14:30		132.558	48.470

15:30		109.980	36.575

16:30		77.098		22.906

17:30		34.927		13.875

18:30		2.193		2.595

November

7:30		5.621		4.048

8:30		43.690		17.271

9:30		79.804		30.107

10:30		105.771	41.156

11:30		121.994	50.125

12:30		125.970	52.246

13:30		121.823	49.402

14:30		109.869	42.790

15:30		88.750		31.989

16:30		55.480		18.690

17:30		12.563		5.255

December

7:30		0.148		0.295

8:30		21.614		9.917

9:30		61.309		23.505

10:30		91.885		35.622

11:30		112.941	43.916

12:30		123.994	49.888

13:30		121.451	52.801

14:30		108.739	44.934

15:30		86.419		34.242

16:30		50.842		18.874

17:30		9.381		4.014

Supplementary Table S9. Daily hourly change of the mean ± standard deviation of the power flux Wdiff ± ΔWdiff (W/m2) of diffuse skylight from January to December averaged for the period 2009-2019 in Georgia (31.25° N, -83.25° E) between sunrise and sunset (UTC - 5 hour).

time		Wdiff		ΔWdiff

(UTC - 5 h)	(W/m2)		(W/m2)

January

7:30		4.719		1.895

8:30		44.948		14.600

9:30		83.789		29.433

10:30		113.462	45.217

11:30		132.847	55.394

12:30		142.270	61.351

13:30		138.957	61.377

14:30		125.872	50.142

15:30		100.669	37.019

16:30		64.870		21.199

17:30		17.969		7.614

February

7:30		13.908		6.602

8:30		63.841		20.656

9:30		106.031	37.413

10:30		137.697	53.611

11:30		155.596	67.342

12:30		164.933	73.976

13:30		163.689	70.310

14:30		152.009	60.984

15:30		125.396	46.511

16:30		88.642		27.194

17:30		41.285		13.582

18:30		2.530		2.039

March

6:30		2.875		3.122

7:30		41.928		15.985

8:30		90.735		26.465

9:30		131.851	46.124

10:30		161.801	63.378

11:30		180.063	74.409

12:30		189.597	80.119

13:30		187.671	79.530

14:30		173.325	69.403

15:30		146.399	54.098

16:30		110.823	35.500

17:30		63.394		16.679

18:30		11.796		4.556

April

5:30		0.044		0.111

6:30		21.108		8.983

7:30		72.993		20.196

8:30		113.811	35.423

9:30		142.967	50.879

10:30		166.513	64.919

11:30		183.778	70.715

12:30		196.374	79.277

13:30		200.037	82.986

14:30		177.960	72.280

15:30		154.373	56.327

16:30		120.270	38.972

17:30		77.821		21.117

18:30		25.630		7.683

19:30		0.076		0.149

May

5:30		3.029		1.669

6:30		43.869		10.520

7:30		90.948		22.207

8:30		128.393	37.844

9:30		155.934	52.761

10:30		178.603	69.129

11:30		200.303	82.033

12:30		206.919	82.009

13:30		210.671	76.796

14:30		196.404	64.765

15:30		167.017	53.889

16:30		130.510	36.648

17:30		90.439		20.980

18:30		42.197		9.843

19:30		2.785		1.624

June

5:30		5.391		1.139

6:30		49.878		9.575

7:30		95.609		21.014

8:30		133.584	36.870

9:30		162.489	50.702

10:30		183.118	59.044

11:30		198.925	65.903

12:30		211.650	68.998

13:30		219.896	68.392

14:30		205.146	62.993

15:30		178.270	52.827

16:30		142.896	38.053

17:30		101.129	24.231

18:30		52.523		11.256

19:30		7.708		2.049

July

5:30		2.085		1.263

6:30		40.119		8.060

7:30		90.163		17.408

8:30		130.236	32.651

9:30		160.694	46.188

10:30		181.974	58.392

11:30		199.840	65.765

12:30		205.049	66.938

13:30		212.680	63.828

14:30		196.181	57.127

15:30		172.084	47.689

16:30		140.894	35.695

17:30		101.040	21.459

18:30		52.327		10.138

19:30		7.483		2.060

August

5:30		0.034		0.073

6:30		24.115		5.802

7:30		80.311		16.348

8:30		126.956	32.021

9:30		159.184	49.589

10:30		183.945	66.454

11:30		199.767	70.727

12:30		205.037	69.041

13:30		208.659	61.782

14:30		191.519	54.010

15:30		167.084	47.934

16:30		130.086	33.609

17:30		83.544		20.750

18:30		33.178		10.708

19:30		1.323		1.408

September

6:30		11.926		4.109

7:30		63.309		15.018

8:30		107.215	29.270

9:30		139.477	44.101

10:30		161.325	54.802

11:30		175.953	62.632

12:30		187.411	64.566

13:30		188.897	61.101

14:30		171.118	49.978

15:30		140.322	38.828

16:30		102.746	25.938

17:30		55.908		16.041

18:30		9.438		5.885

October

6:30		3.421		2.128

7:30		44.126		10.590

8:30		85.562		21.763

9:30		112.837	36.067

10:30		131.523	49.602

11:30		144.081	57.811

12:30		149.171	56.833

13:30		150.558	59.860

14:30		135.218	48.870

15:30		106.926	32.323

16:30		71.536		17.703

17:30		23.310		9.065

18:30		0.234		0.476

November

6:30		0.058		0.133

7:30		21.931		8.687

8:30		68.229		19.544

9:30		100.912	30.292

10:30		120.840	44.332

11:30		132.080	52.672

12:30		135.461	55.472

13:30		133.702	53.703

14:30		117.071	40.164

15:30		89.652		26.951

16:30		52.438		13.318

17:30		7.596		2.825

December

7:30		6.781		3.486

8:30		47.134		16.488

9:30		83.579		27.813

10:30		111.946	41.281

11:30		131.543	51.418

12:30		135.732	54.987

13:30		128.815	52.303

14:30		109.816	41.771

15:30		81.729		28.346

16:30		45.842		14.703

17:30		5.940		2.512

Supplementary Table S10. Daily hourly change of the mean ± standard deviation of the power flux Wdiff ± ΔWdiff (W/m2) of diffuse skylight from January to December averaged for the period 2009-2019 in Central Italy (41.0° N, 15.0° E) between sunrise and sunset (UTC + 1 hour). Although Italy is in the time zone UTC + 1 h, but here the data are given in UTC.

time		Wdiff		ΔWdiff

(UTC + 1 h)	(W/m2)		(W/m2)

January

6:30		7.095		2.977

7:30		49.245		15.232

8:30		91.740		27.682

9:30		118.870	34.812

10:30		132.290	39.170

11:30		135.555	40.252

12:30		123.553	35.241

13:30		99.851		27.401

14:30		62.789		17.194

15:30		17.898		8.715

16:30		0.090		0.209

February

5:30		0.493		0.890

6:30		25.177		12.584

7:30		78.589		24.383

8:30		122.031	34.366

9:30		152.294	42.687

10:30		170.167	46.551

11:30		174.962	47.304

12:30		163.638	43.038

13:30		136.196	33.351

14:30		98.181		23.715

15:30		50.640		14.601

16:30		6.742		4.687

March

4:30		0.069		0.197

5:30		15.769		10.770

6:30		68.031		23.300

7:30		117.431	33.967

8:30		154.511	44.677

9:30		178.178	53.956

10:30		193.618	62.682

11:30		196.658	63.024

12:30		183.848	56.578

13:30		158.708	46.922

14:30		122.119	33.867

15:30		79.533		22.866

16:30		28.683		11.691

17:30		0.650		0.976

April

4:30		9.445		6.676

5:30		58.233		17.719

6:30		114.032	29.175

7:30		152.971	42.646

8:30		179.657	53.939

9:30		199.670	66.217

10:30		209.069	70.569

11:30		212.939	72.420

12:30		203.205	66.583

13:30		179.719	52.555

14:30		145.532	38.634

15:30		103.447	24.077

16:30		57.302		14.531

17:30		9.925		5.094

May

3:30		1.573		1.437

4:30		35.747		10.408

5:30		90.289		18.887

6:30		139.628	31.876

7:30		169.797	40.332

8:30		190.687	48.495

9:30		213.748	60.945

10:30		230.994	67.370

11:30		234.836	66.807

12:30		222.222	59.979

13:30		197.036	44.658

14:30		168.388	34.940

15:30		126.445	23.520

16:30		82.198		13.749

17:30		30.954		8.749

18:30		0.783		0.943

June

3:30		4.840		0.856

4:30		47.755		5.876

5:30		98.116		18.106

6:30		135.866	29.862

7:30		159.470	38.674

8:30		174.950	44.031

9:30		193.752	55.200

10:30		206.157	61.961

11:30		210.062	57.948

12:30		203.894	54.583

13:30		186.130	44.832

14:30		161.274	33.448

15:30		127.851	21.975

16:30		91.757		13.578

17:30		47.568		6.260

18:30		5.402		1.365

July

3:30		1.568		1.274

4:30		35.412		7.354

5:30		82.621		13.930

6:30		116.146	22.712

7:30		135.468	24.625

8:30		153.551	31.826

9:30		167.570	39.949

10:30		177.541	44.537

11:30		182.329	46.437

12:30		178.287	43.681

13:30		168.399	38.719

14:30		150.380	32.791

15:30		120.245	19.366

16:30		85.360		10.257

17:30		43.689		6.007

18:30		4.374		1.824

August

4:30		15.080		5.366

5:30		64.238		9.489

6:30		104.027	19.586

7:30		126.542	24.033

8:30		142.310	31.746

9:30		156.222	40.753

10:30		165.695	42.555

11:30		169.197	46.215

12:30		164.694	40.246

13:30		153.595	33.856

14:30		133.957	26.357

15:30		102.433	16.277

16:30		66.255		10.444

17:30		19.908		8.513

18:30		0.128		0.270

September

4:30		2.173		2.060

5:30		39.878		11.016

6:30		92.909		21.304

7:30		130.934	31.733

8:30		152.364	38.927

9:30		168.654	48.051

10:30		177.740	52.032

11:30		182.842	48.792

12:30		170.847	43.981

13:30		151.436	37.474

14:30		119.025	25.869

15:30		79.418		16.967

16:30		29.789		13.168

17:30		1.284		1.886

October

5:30		12.761		6.620

6:30		61.499		18.516

7:30		106.311	29.223

8:30		132.566	35.952

9:30		149.697	42.283

10:30		155.221	44.118

11:30		154.983	42.475

12:30		140.710	37.434

13:30		115.370	29.456

14:30		80.289		19.891

15:30		36.185		14.011

16:30		2.707		3.206

November

5:30		1.036		1.386

6:30		28.801		12.275

7:30		76.367		22.629

8:30		110.011	29.892

9:30		127.848	32.818

10:30		132.483	33.862

11:30		129.161	34.120

12:30		113.761	28.648

13:30		88.299		21.298

14:30		51.738		12.867

15:30		9.632		4.581

December

6:30		8.935		3.522

7:30		51.252		12.527

8:30		89.167		21.731

9:30		110.847	27.260

10:30		119.664	29.933

11:30		118.726	31.219

12:30		105.607	23.525

13:30		80.278		16.183

14:30		44.730		8.371

15:30		5.687		1.710

Supplementary Table S11. Daily hourly change of the mean ± standard deviation of the power flux Wdiff ± ΔWdiff (W/m2) of diffuse skylight from January to December averaged for the period 2009-2019 in Central Hungary (47.0° N, 19.0° E) between sunrise and sunset (UTC + 1 hour). Although Hungary is in the time zone UTC + 1 h, but here the data are given in UTC.

time		Wdiff		ΔWdiff

(UTC + 1 h)	(W/m2)		(W/m2)

January

6:30		5.553		2.943

7:30		40.820		12.905

8:30		75.847		22.006

9:30		99.795		29.681

10:30		110.622	33.494

11:30		110.912	33.518

12:30		98.018		29.261

13:30		71.377		20.891

14:30		33.073		13.453

15:30		2.730		3.036

February

5:30		1.093		1.683

6:30		27.190		13.438

7:30		72.714		22.803

8:30		109.353	33.698

9:30		136.498	41.413

10:30		151.951	46.432

11:30		152.398	47.029

12:30		140.736	43.964

13:30		112.207	34.986

14:30		71.487		22.055

15:30		24.417		12.000

16:30		0.653		1.083

March

4:30		1.071		1.764

5:30		25.409		14.418

6:30		72.734		21.586

7:30		112.596	32.239

8:30		143.717	44.429

9:30		165.600	55.524

10:30		178.525	59.790

11:30		182.225	59.369

12:30		169.086	52.195

13:30		146.287	40.573

14:30		108.890	27.910

15:30		62.232		17.497

16:30		14.837		8.282

17:30		0.023		0.074

April

3:30		0.775		1.274

4:30		24.352		12.775

5:30		70.821		16.774

6:30		109.629	27.592

7:30		141.695	39.857

8:30		165.688	50.234

9:30		185.223	58.686

10:30		200.725	66.751

11:30		203.465	64.923

12:30		193.617	58.156

13:30		170.543	48.042

14:30		137.724	35.331

15:30		95.588		20.587

16:30		47.599		12.664

17:30		6.189		4.469

May

3:30		13.282		6.063

4:30		57.590		12.388

5:30		99.129		20.093

6:30		134.789	33.621

7:30		163.933	46.570

8:30		186.747	55.240

9:30		208.061	62.322

10:30		219.042	62.872

11:30		220.834	62.340

12:30		209.072	57.785

13:30		187.138	46.600

14:30		154.458	35.072

15:30		116.415	22.950

16:30		73.195		15.056

17:30		27.490		9.423

18:30		0.958		1.168

June

2:30		0.113		0.069

3:30		22.921		4.796

4:30		65.803		12.329

5:30		103.130	20.955

6:30		135.776	29.250

7:30		166.303	41.794

8:30		188.974	49.792

9:30		208.197	56.429

10:30		220.224	57.370

11:30		221.577	57.256

12:30		211.045	52.070

13:30		187.436	45.411

14:30		160.468	36.326

15:30		125.259	25.586

16:30		86.745		15.516

17:30		43.952		8.150

18:30		6.261		1.854

July

3:30		13.835		5.067

4:30		55.411		10.343

5:30		92.091		16.717

6:30		124.473	27.687

7:30		150.775	38.077

8:30		172.312	44.937

9:30		186.055	52.420

10:30		200.130	58.316

11:30		201.824	55.854

12:30		192.588	52.812

13:30		174.034	43.717

14:30		150.785	34.722

15:30		119.405	24.046

16:30		83.184		14.164

17:30		40.932		8.257

18:30		4.701		2.310

August

3:30		1.831		2.013

4:30		31.803		9.851

5:30		74.004		12.567

6:30		104.912	19.585

7:30		130.458	27.843

8:30		149.963	35.929

9:30		164.067	44.792

10:30		174.824	48.606

11:30		177.443	49.549

12:30		168.296	44.088

13:30		153.028	35.884

14:30		130.528	29.216

15:30		97.199		19.319

16:30		58.607		13.417

17:30		15.208		8.375

18:30		0.084		0.202

September

4:30		7.837		5.329

5:30		48.798		14.766

6:30		89.492		22.811

7:30		119.276	33.683

8:30		141.588	40.205

9:30		159.031	47.392

10:30		167.220	49.852

11:30		166.608	47.521

12:30		156.577	43.418

13:30		134.623	36.443

14:30		102.687	27.392

15:30		62.771		19.376

16:30		18.033		11.776

17:30		0.321		0.686

October

4:30		0.127		0.294

5:30		17.200		9.507

6:30		58.715		18.154

7:30		93.833		26.740

8:30		117.715	35.082

9:30		133.784	40.353

10:30		138.731	40.246

11:30		134.675	38.367

12:30		120.334	32.674

13:30		93.500		24.556

14:30		58.015		18.143

15:30		16.879		11.534

16:30		0.296		0.643

November

5:30		1.212		1.712

6:30		25.112		13.068

7:30		63.273		21.225

8:30		90.651		28.102

9:30		107.287	32.290

10:30		113.566	34.709

11:30		105.870	31.141

12:30		89.104		25.848

13:30		61.334		18.555

14:30		23.136		10.815

15:30		0.663		1.060

December

6:30		5.412		2.835

7:30		38.188		10.954

8:30		69.175		17.201

9:30		90.895		23.227

10:30		101.089	25.465

11:30		97.377		25.358

12:30		79.407		19.965

13:30		51.198		13.144

14:30		13.706		4.129

Supplementary Table S12. Daily hourly change of the mean ± standard deviation of the power flux Wdiff ± ΔWdiff (W/m2) of diffuse skylight from January to December averaged for the period 2009-2019 in South Sweden (58.0° N, 13.0° E) between sunrise and sunset (UTC + 1 hour). Although Sweden is in the time zone UTC + 1 h, but here the data are given in UTC.

time		Wdiff		ΔWdiff

(UTC + 1 h)	(W/m2)		(W/m2)

January

7:30		1.269		1.732

8:30		18.476		9.008

9:30		41.494		15.414

10:30		55.325		19.265

11:30		57.805		19.690

12:30		50.047		18.040

13:30		32.636		14.532

14:30		9.647		7.943

15:30		0.212		0.504

February

6:30		2.333		3.302

7:30		23.287		13.704

8:30		56.319		19.812

9:30		83.094		26.855

10:30		99.064		31.695

11:30		103.390	32.442

12:30		94.480		29.787

13:30		75.696		24.878

14:30		47.727		19.117

15:30		16.076		11.648

16:30		0.750		1.363

March

4:30		0.082		0.254

5:30		8.415		9.262

6:30		39.411		21.072

7:30		76.142		26.305

8:30		107.526	32.683

9:30		129.119	40.841

10:30		142.100	45.512

11:30		147.463	47.031

12:30		139.281	44.330

13:30		119.326	37.946

14:30		94.862		30.955

15:30		61.403		22.387

16:30		24.009		14.880

17:30		1.830		2.673

April

3:30		1.035		1.748

4:30		17.810		12.981

5:30		53.957		20.001

6:30		87.668		28.612

7:30		118.421	39.946

8:30		142.808	51.999

9:30		160.406	58.942

10:30		170.727	61.415

11:30		171.975	60.975

12:30		168.012	59.271

13:30		148.950	49.814

14:30		124.231	39.077

15:30		95.179		29.614

16:30		62.610		20.256

17:30		26.656		13.457

18:30		2.662		3.296

May

2:30		1.194		1.549

3:30		19.139		9.349

4:30		51.758		14.513

5:30		84.946		23.213

6:30		116.662	37.297

7:30		142.401	46.573

8:30		165.832	56.568

9:30		183.408	65.121

10:30		194.302	69.128

11:30		195.751	67.712

12:30		192.617	62.964

13:30		176.689	55.201

14:30		149.813	43.159

15:30		118.956	31.121

16:30		88.998		23.934

17:30		56.814		15.116

18:30		24.665		10.405

19:30		2.674		2.933

June

2:30		6.507		2.137

3:30		33.367		9.526

4:30		63.835		16.972

5:30		92.401		26.916

6:30		125.319	35.251

7:30		153.897	47.894

8:30		175.630	57.629

9:30		193.605	65.227

10:30		203.925	66.909

11:30		205.486	66.952

12:30		197.895	63.686

13:30		180.193	57.216

14:30		155.213	47.616

15:30		128.082	36.293

16:30		99.308		27.518

17:30		71.006		18.691

18:30		41.147		11.098

19:30		12.888		4.160

20:30		0.050		0.052

July

2:30		2.123		2.086

3:30		22.914		9.046

4:30		54.497		15.022

5:30		84.064		23.042

6:30		114.350	36.112

7:30		143.251	46.022

8:30		164.648	54.876

9:30		179.373	61.705

10:30		189.058	65.622

11:30		189.015	65.044

12:30		183.424	64.279

13:30		166.403	53.288

14:30		149.315	43.648

15:30		121.476	36.026

16:30		95.185		27.083

17:30		66.342		18.042

18:30		36.121		10.384

19:30		8.244		4.424

August

3:30		3.053		3.560

4:30		26.014		12.580

5:30		61.478		19.327

6:30		94.493		28.062

7:30		125.224	36.438

8:30		150.489	46.113

9:30		170.451	55.614

10:30		181.926	57.750

11:30		182.277	55.775

12:30		174.518	53.514

13:30		158.099	47.741

14:30		133.286	43.117

15:30		103.123	32.582

16:30		71.630		22.539

17:30		39.054		16.296

18:30		9.540		8.523

19:30		0.159		0.388

September

4:30		2.413		3.185

5:30		25.218		14.205

6:30		60.650		22.923

7:30		92.609		30.106

8:30		119.667	36.612

9:30		135.531	43.252

10:30		148.542	46.950

11:30		148.470	47.185

12:30		139.139	40.857

13:30		119.884	36.172

14:30		93.402		29.961

15:30		61.791		21.733

16:30		27.915		16.630

17:30		4.247		5.475

October

5:30		1.792		2.682

6:30		20.260		14.900

7:30		49.457		23.019

8:30		75.687		30.867

9:30		91.591		36.100

10:30		98.940		38.582

11:30		97.875		38.144

12:30		87.820		34.644

13:30		69.171		28.502

14:30		43.842		20.837

15:30		15.322		13.380

16:30		0.982		1.834

November

6:30		0.480		0.888

7:30		11.395		8.970

8:30		34.003		16.044

9:30		52.240		20.444

10:30		61.673		22.631

11:30		60.473		22.195

12:30		48.862		19.068

13:30		29.791		13.780

14:30		7.369		6.449

15:30		0.051		0.161

December

7:30		0.311		0.574

8:30		12.422		6.113

9:30		31.090		11.523

10:30		41.028		14.539

11:30		41.683		14.658

12:30		32.518		12.005

13:30		14.830		5.857

14:30		0.506		0.346

Supplementary Table S13. Ideal azimuth angle α*n and percent energy gain ΔZms(θ*n) = (emax - esouth)/esouth of a smooth, Fresnel-reflecting, fixed-tilt solar panel with reflectivity R(λ) > 0, elevation angle θ*n (= 90o - β, where β is the tilt angle measured from the horizontal in the solar panel literature) compared to a panel with the same θ*n but facing south as a function of θ*n in Boone County (39.0° N, -84.75° E), Tennessee (35.5° N, -88.25° E) and Georgia (31.25° N, -83.25° E), where emax = e(θ*n, α*n) and esouth = e(θ*n, αn = 0o).

| R(λ) > 0 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Boone County |  | Tennessee |  | Georgia |  |
| θ*n | α*n | ΔZms (%) | α*n | ΔZms (%) | α*n | ΔZms (%) |
| 0o | -31o | 1.815 | -36o | 2.793 | -42o | 4.977 |
| 5o | -24o | 0.919 | -29o | 1.385 | -37o | 2.986 |
| 10o | -16o | 0.469 | -21o | 0.596 | -30o | 1.639 |
| 15o | -12o | 0.275 | -15o | 0.280 | -23o | 0.871 |
| 20o | -9o | 0.203 | -9o | 0.152 | -16o | 0.501 |
| 25o | -7o | 0.150 | -8o | 0.084 | -12o | 0.337 |
| 30o | -6o | 0.113 | -5o | 0.078 | -10o | 0.268 |
| 35o | -5o | 0.100 | -5o | 0.078 | -9o | 0.204 |
| 40o | -5o | 0.090 | -5o | 0.076 | -7o | 0.149 |
| 45o | -4o | 0.078 | -5o | 0.065 | -6o | 0.121 |
| 50o | -4o | 0.056 | -4o | 0.037 | -6o | 0.104 |
| 55o | -4o | 0.034 | -3o | 0.023 | -6o | 0.093 |
| 60o | -4o | 0.026 | -2o | 0.015 | -6o | 0.085 |
| 65o | -3o | 0.025 | -2o | 0.011 | -6o | 0.070 |
| 70o | -3o | 0.022 | -2o | 0.010 | -6o | 0.053 |
| 75o | -3o | 0.018 | -2o | 0.010 | -5o | 0.039 |
| 80o | -3o | 0.012 | -2o | 0.007 | -5o | 0.026 |
| 85o | -3o | 0.006 | -2o | 0.003 | -5o | 0.013 |

Supplementary Table S14. Ideal azimuth angle α*n and percent energy gain ΔZms(θ*n) = (emax - esouth)/esouth of a smooth, Fresnel-reflecting, fixed-tilt solar panel with reflectivity R(λ) > 0, elevation angle θ*n (= 90o - β, where β is the tilt angle measured from the horizontal in the solar panel literature) compared to a panel with the same θ*n but facing south as a function of θ*n in Central Italy (41.0° N, 15.0° E), Central Hungary (47.0° N, 19.0° E) and South Sweden (58.0° N, 13.0° E), where emax = e(θ*n, α*n) and esouth = e(θ*n, αn = 0o).

| R(λ) > 0 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Central Italy |  | Central Hungary |  | South Sweden |  |
| θ*n | α*n | ΔZms (%) | α*n | ΔZms (%) | α*n | ΔZms (%) |
| 0o | -25o | 0.649 | -21o | 0.805 | +1o | 0.001 |
| 5o | -17o | 0.186 | -15o | 0.480 | 0o | 0 |
| 10o | -6o | 0.044 | -11o | 0.321 | +2o | 0.004 |
| 15o | -2o | 0.012 | -9o | 0.242 | +3o | 0.033 |
| 20o | -2o | 0.009 | -8o | 0.188 | +3o | 0.037 |
| 25o | -2o | 0.007 | -6o | 0.170 | +3o | 0.015 |
| 30o | -2o | 0.005 | -6o | 0.162 | 0o | 0 |
| 35o | -2o | 0.005 | -5o | 0.144 | 0o | 0 |
| 40o | -1o | 0.002 | -5o | 0.110 | -1o | 0 |
| 45o | -1o | 0.001 | -5o | 0.069 | -1o | 0 |
| 50o | -1o | 0.001 | -4o | 0.047 | 0o | 0 |
| 55o | -1o | 0.001 | -4o | 0.046 | +1o | 0.002 |
| 60o | -1o | 0.001 | -4o | 0.046 | +1o | 0.001 |
| 65o | -1o | 0.001 | -4o | 0.046 | +1o | 0 |
| 70o | 0o | 0 | -4o | 0.041 | 0o | 0 |
| 75o | 0o | 0 | -4o | 0.030 | +1o | 0 |
| 80o | 0o | 0 | -4o | 0.019 | +1o | 0 |
| 85o | 0o | 0 | -4o | 0.001 | 0o | 0 |

Supplementary Table S15. Ideal azimuth angle α*n and percent energy gain ΔZms(θ*n) = (emax - esouth)/esouth of a smooth, Fresnel-reflecting, fixed-tilt solar panel with reflectivity R(λ) = 0, elevation angle θ*n (= 90o - β, where β is the tilt angle measured from the horizontal in the solar panel literature) compared to a panel with the same θ*n but facing south as a function of θ*n in Boone County (39.0° N, -84.75° E), Tennessee (35.5° N, -88.25° E) and Georgia (31.25° N, -83.25° E), where emax = e(θ*n, α*n) and esouth = e(θ*n, αn = 0o).

| R(λ) = 0 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Boone County |  | Tennessee |  | Georgia |  |
| θ*n | α*n | ΔZms (%) | α*n | ΔZms (%) | α*n | ΔZms (%) |
| 0o | -22o | 0.904 | -27o | 1.299 | -34o | 2.684 |
| 5o | -14o | 0.458 | -20o | 0.556 | -27o | 1.502 |
| 10o | -13o | 0.259 | -15o | 0.300 | -22o | 0.870 |
| 15o | -9o | 0.214 | -10o | 0.159 | -15o | 0.488 |
| 20o | -8o | 0.154 | -9o | 0.078 | -13o | 0.326 |
| 25o | -4o | 0.112 | -6o | 0.054 | -9o | 0.288 |
| 30o | -4o | 0.094 | -6o | 0.100 | -8o | 0.213 |
| 35o | -4o | 0.091 | -5o | 0.100 | -7o | 0.141 |
| 40o | -4o | 0.078 | -5o | 0.066 | -5o | 0.114 |
| 45o | -4o | 0.047 | -2o | 0.010 | -6o | 0.107 |
| 50o | -4o | 0.041 | -1o | 0.008 | -7o | 0.105 |
| 55o | -3o | 0.035 | -1o | 0.007 | -8o | 0.114 |
| 60o | -3o | 0.030 | -2o | 0.006 | -8o | 0.099 |
| 65o | -3o | 0.030 | -2o | 0.006 | -6o | 0.058 |
| 70o | -3o | 0.026 | -3o | 0.020 | -5o | 0.044 |
| 75o | -3o | 0.019 | -4o | 0.017 | -5o | 0.033 |
| 80o | -3o | 0.007 | -2o | 0.004 | -5o | 0.022 |
| 85o | -3o | 0.004 | -2o | 0.002 | -5o | 0.011 |

Supplementary Table S16. Ideal azimuth angle α*n and percent energy gain ΔZms(θ*n) = (emax - esouth)/esouth of a smooth, Fresnel-reflecting, fixed-tilt solar panel with reflectivity R(λ) = 0, elevation angle θ*n (= 90o - β, where β is the tilt angle measured from the horizontal in the solar panel literature) compared to a panel with the same θ*n but facing south as a function of θ*n in Central Italy (41.0° N, 15.0° E), Central Hungary (47.0° N, 19.0° E) and South Sweden (58.0° N, 13.0° E), where emax = e(θ*n, α*n) and esouth = e(θ*n, αn = 0o).

| R(λ) = 0 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Central Italy |  | Central Hungary |  | South Sweden |  |
| θ*n | α*n | ΔZms (%) | α*n | ΔZms (%) | α*n | ΔZms (%) |
| 0o | -15o | 0.121 | -15o | 0.479 | 0o | 0 |
| 5o | -6o | 0.077 | -10o | 0.320 | +4o | 0.038 |
| 10o | -4o | 0.009 | -9o | 0.247 | +4o | 0.094 |
| 15o | -1o | 0.006 | -8o | 0.188 | +4o | 0.061 |
| 20o | -1o | 0.005 | -5o | 0.194 | +2o | 0.005 |
| 25o | -1o | 0.004 | -5o | 0.173 | -1o | 0.010 |
| 30o | -4o | 0.013 | -5o | 0.141 | -1o | 0.009 |
| 35o | -1o | 0.001 | -6o | 0.087 | -1o | 0.008 |
| 40o | -1o | 0.001 | -8o | 0.023 | -1o | 0.008 |
| 45o | -1o | 0.001 | -2o | 0.010 | +1o | 0.002 |
| 50o | -1o | 0.001 | -5o | 0.037 | +3o | 0.016 |
| 55o | -1o | 0.001 | -5o | 0.066 | +3o | 0.018 |
| 60o | -1o | 0.001 | -5o | 0.070 | +1o | 0.002 |
| 65o | 0o | 0 | -5o | 0.060 | +1o | 0.002 |
| 70o | 0o | 0 | -4o | 0.038 | +1o | 0.002 |
| 75o | 0o | 0 | -4o | 0.022 | +2o | 0.005 |
| 80o | 0o | 0 | -4o | 0.014 | +1o | 0 |
| 85o | 0o | 0 | -4o | 0.007 | 0o | 0 |

Supplementary Figure S1. North-American maps of the 10-year mean power flux (W/m2) of direct sunlight (A) and diffuse skylight (B) averaged for the period 2009-2019. The three sites – Boone County (Kentucky, 39.0° N, -84.75° E), Tennessee (35.5° N, -88.25° E) and Georgia (31.25° N, -83.25° E) – for which our computations were performed, are marked by asterix.

Supplementary Figure S2. European maps of the 10-year mean power flux (W/m2) of direct sunlight (A) and diffuse skylight (B) averaged for the period 2009-2019. The three European sites – Central Italy (41.0° N, 15.0° E), Central Hungary (47.0° N, 19.0° E) and South Sweden (58.0° N, 13.0° E) – for which our computations were performed, are marked by asterix.

Supplementary Figure S3. Daily hourly change of the mean (black dots) ± standard deviation (orange vertical bars) of the power flux WSun ± ΔWSun (W/m2) of direct sunlight from January to December averaged for the period 2009-2019 in Boone County (39.0° N, -84.75° E) between sunrise and sunset (UTC - 5 hour).

Supplementary Figure S4. Daily hourly change of the mean (black dots) ± standard deviation (orange vertical bars) of the power flux WSun ± ΔWSun (W/m2) of direct sunlight from January to December averaged for the period 2009-2019 in Tennessee (35.5° N, -88.25° E) between sunrise and sunset (UTC - 5 hour).

Supplementary Figure S5. Daily hourly change of the mean (black dots) ± standard deviation (orange vertical bars) of the power flux WSun ± ΔWSun (W/m2) of direct sunlight from January to December averaged for the period 2009-2019 in Georgia (31.25° N, -83.25° E) between sunrise and sunset (UTC - 5 hour).

Supplementary Figure S6. Daily hourly change of the mean (black dots) ± standard deviation (orange vertical bars) of the power flux WSun ± ΔWSun (W/m2) of direct sunlight from January to December averaged for the period 2009-2019 in Central Italy (41.0° N, 15.0° E) between sunrise and sunset (UTC + 1 hour).

Supplementary Figure S7. Daily hourly change of the mean (black dots) ± standard deviation (orange vertical bars) of the power flux WSun ± ΔWSun (W/m2) of direct sunlight from January to December averaged for the period 2009-2019 in Central Hungary (47.0° N, 19.0° E) between sunrise and sunset (UTC + 1 hour).

Supplementary Figure S8. Daily hourly change of the mean (black dots) ± standard deviation (orange vertical bars) of the power flux WSun ± ΔWSun (W/m2) of direct sunlight from January to December averaged for the period 2009-2019 in South Sweden (58.0° N, 13.0° E) between sunrise and sunset (UTC + 1 hour).

Supplementary Figure S9. Daily hourly change of the mean (black dots) ± standard deviation (orange vertical bars) of the power flux Wdiff ± ΔWdiff (W/m2) of diffuse skylight from January to December averaged for the period 2009-2019 in Boone County (39.0° N, -84.75° E) between sunrise and sunset (UTC - 5 hour).

Supplementary Figure S10. Daily hourly change of the mean (black dots) ± standard deviation (orange vertical bars) of the power flux Wdiff ± ΔWdiff (W/m2) of diffuse skylight from January to December averaged for the period 2009-2019 in Tennessee (35.5° N, -88.25° E) between sunrise and sunset (UTC - 5 hour).

Supplementary Figure S11. Daily hourly change of the mean (black dots) ± standard deviation (orange vertical bars) of the power flux Wdiff ± ΔWdiff (W/m2) of diffuse skylight from January to December averaged for the period 2009-2019 in Georgia (31.25° N, -83.25° E) between sunrise and sunset (UTC - 5 hour).

Supplementary Figure S12. Daily hourly change of the mean (black dots) ± standard deviation (orange vertical bars) of the power flux Wdiff ± ΔWdiff (W/m2) of diffuse skylight from January to December averaged for the period 2009-2019 in Central Italy (41.0° N, 15.0° E) between sunrise and sunset (UTC + 1 hour).

Supplementary Figure S13. Daily hourly change of the mean (black dots) ± standard deviation (orange vertical bars) of the power flux Wdiff ± ΔWdiff (W/m2) of diffuse skylight from January to December averaged for the period 2009-2019 in Central Hungary (47.0° N, 19.0° E) between sunrise and sunset (UTC + 1 hour).

Supplementary Figure S14. Daily hourly change of the mean (black dots) ± standard deviation (orange vertical bars) of the power flux Wdiff ± ΔWdiff (W/m2) of diffuse skylight from January to December averaged for the period 2009-2019 in South Sweden (58.0° N, 13.0° E) between sunrise and sunset (UTC + 1 hour).